January 17, 2017

- Water line completion

  - Under Pryor

  - Testing/connection

- Storm sewer completion

- Remaining tear out/replacement of pavement, sidewalk and curb (Blackstone)

- Street signs

- Erosion Control/establish vegetation

- MDNR acceptance sanitary

- As-graded master drainage plan

- Final grading clean up

- Additional easement recordings (if any)

- Maintenance bonds