Preliminary Plat

Applicant's Letter

Date:	Monday, November 02, 2015

To:

| Applicant: WEHMEIR DEVELOPMENT LLC | Email: | Fax #: <NO FAX NUMBER> |
| --- | --- | --- |

| Engineer: WARGER ASSOCIATES LLC | Email: STEVE@WARGERASSOCIATES.COM | Fax #: <NO FAX NUMBER> |
| --- | --- | --- |

| Property Owner: TRIO DEVELOPMENT COMPANY LLC | Email: | Fax #: <NO FAX NUMBER> |
| --- | --- | --- |

# From: Ron Seyl, Planner

Re:

| Application Number: | PL2015130 |
| --- | --- |
| Application Type: | Preliminary Plat |
| Application Name: | Napa Valley, 2nd plat |
| Location: |  |

# Tentative Schedule

Submit revised plans by noon on Tuesday, November 10, 2015 (4 paper copies, 1 reduced (8 ½ x 11 copy).

| Applicant Meeting 09/23/2015 09:00 AM: | 09/23/2015 12:00 AM |
| --- | --- |

| Planning Commission Meeting 11/24/2015 05:00 PM: | 11/24/2015 12:00 AM |
| --- | --- |

| City Council Public Hearing 11/19/2015 06:15 PM: | 12/17/2015 12:00 AM |
| --- | --- |

| City Council Ordinance 12/03/2015 06:15 PM: | 01/07/2016 12:00 AM |
| --- | --- |

If the revised submittal deadline is not met or plans are deficient, the item will be moved to a later meeting and a new deadline will be set.  Future deadlines and meeting dates can be found on the “Planning Commission Meeting Dates” handout.  Dates are subject to change; we will keep you informed throughout the process.

Excise Tax

On April 1, 1998, an excise tax on new development for road construction went into effect.  This tax is levied based on the type of development and trips generated.  If you require additional information about this development cost, as well as other permit costs and related fees, please contact the Permitting and Plan Review Division of the Codes Administration Department at 969-1200.

Planning Commission and City Council Presentations

#### Presentations before the Planning Commission and City Council shall be (1) in electronic format or (2) reduced drawings for use on the Document Camera to display on the screen.  Electronic presentations shall be on a laptop, CD ROM, DVD, or flash drive.  The City’s presentation system can support Word, Excel, Power Point, Adobe, Windows Media Player and Internet Explorer applications.  Presentation boards will no longer be allowed.  The presentation(s) shall be submitted to Planning and Development staff no later than the day of the Planning Commission meeting by 4 pm.

#### Notice Requirements

- Notification of Surrounding Property Owners.

- Mail Notices.  The applicant must mail letter notices to all property owners within 185 feet at least 15 days prior to the hearing.  Sample notices are available.  The notice must include:

- time and place of hearing,

- general description of the proposal,

- location map of the property,

- street address, or general street location

- statement explaining that the public will have an opportunity to be heard

- File Affidavit.  An affidavit must be filed with the Planning and Development Department prior to the public hearing certifying the notices have been sent.  Provide a list of the property owners notified and a copy of the notice sent.

- Notice Signs.

- Post Sign.  The applicant shall post a sign on the premises, at least 15 days prior to the date of the hearing, informing the general public of the time and place of the public hearing.  When revised plans are submitted, staff will prepare the sign and provide it to the applicant for posting.

- Maintain Sign.  The applicant shall make a good faith effort to maintain the sign for at least the 15 days immediately preceding the date of the hearing, through the hearing, and through any continuances of the hearing.  The sign shall be placed within 5 feet of the street right-of-way line in a central position on the property that is the subject of the hearing.  The sign shall be readily visible to the public.  If the property contains more than one street frontage, one sign shall be placed on each street frontage so as to face each of the streets abutting the land. The sign may be removed at the conclusion of the public hearing(s) and must be removed at the end of all proceedings on the application or upon withdrawal of the application.

#### Analysis of Preliminary Plat:

| #### Traffic Review | Michael Park | City Traffic Engineer | Pending |
| --- | --- | --- | --- |
|  | (816) 969-1820 | Michael.Park@citlyofls.net |  |

| #### Planning Review | Ron Seyl | Planner | Corrections |
| --- | --- | --- | --- |
|  | (816) 969-1603 | Ron.Seyl@cityofls.net |  |

1. Please cite the source of the information from which the statement "No oil or gas wells exist on site" was attained.

2. The front lot dimension for Lot 1 does not seem to scale correctly. The dimension on the preliminary plat is listed as 84.31 feet, but seems to scale closer to 100 feet.

3. Are the front lot dimensions along SW Sage Canyon Rd. for lot 19 correct? From what I see on the plat, the dimensions are listed as 19.49 feet and 28.22 feet. 

This adds up to 47.71 feet which would not meet the minimum UDO requirement of fifty (50) feet of frontage on a public or private street. However, when measured, the width of the street frontage on this lot seems to be closer to 70 feet.

4. The front lot dimensions on lots 4, 17, 26, 28, 66, 72, 75, 83, 91, 94, 95, 101 and 106 conflict with other information and are difficult to read. Please correct.

5. A portion of the front lot dimension on lot 110 appears to be missing. The dimension is listed as 28.92 feet, but scales closer to 75 feet.

6. SW Briarcrest Drive (which will be addressed as an east-west running street), extends eastward until it eventually merges with Flintrock Drive (which is addressed as an north-south running street). For purposed of addressing, SW Briarcrest will terminate were it intersects with SW Mondavi Lane.

As a result of this these lots will have the following addresses:

Lot 59 - 3990 SW Briarcrest
Lot 60 - 3994 SW Briarcrest
Lot 61 - 3995 SW Briarcrest
Lot 62 - 3991 SW Briarcrest

7. Re-title the plans as a preliminary development plan rather than a preliminary plat.

| #### Engineering Review | Gene Williams | Senior Staff Engineer | Corrections |
| --- | --- | --- | --- |
|  | (816) 969-1812 | Gene.Williams@cityofls.net |  |

1. The stormwater report did not address stormwater release to the south.  The south property is not “park property” as stated in the report, but rather, privately-owned property owned by Joseph and Angela Stein.

2. The preliminary plat shows a 28 foot wide area just north of the Stein property as “Tract B BMP”, but there appears to be no discussion of this area in the stormwater report.  This area is also within the limits of Lots 37 through 43, which is not allowed.  Detention tracts and stormwater quality features should be located in separate tracts, not on individual lots.  Also, this area does not appear to be large enough to provide adequate detention for the 2, 10, 100 year event plus the 90% mean annual event (i.e., the water quality storm).  If the applicant desires a waiver to the stormwater detention requirements (i.e. for the peak flow attenuation requirements, not the water quality aspect), then it should be discussed within the report.

3. Within the stormwater report, there is no discussion that the applicant is proposing to freely-release stormwater to the south, north and west without detention (i.e., from the western drainage areas shown on Figure 2 in the report).  The report should be transparent in this regard, including a detailed discussion within the report how stormwater releases from these un-detained areas will be managed.  In particular, the 6.9 acre area shown on Figure 2 drains directly toward private property, which may be an issue.

4. The water line connection at SW Blackstone Place and SW Pryor Road should be shown on the plan view as being completed during the initial phase (i.e., during the first plat) of the development.

5. The existing stormwater system on the south end of SW Benziger Drive is shown daylighting near the west property line of the future Lot 33 of this development. As shown, the discharge will be directed toward the foundation of a future home on Lot 33.  There does not appear to be any stormwater conveyance system shown to manage this discharge.

6. Were Record Drawings consulted to determine the location of existing water lines?  It appears the connection points of water lines are on the wrong side of the road at Flintrock Drive, Napa Valley Drive, and Stoney Brook Drive.

8. Sheet 1 of the Utility Layout:  Lot 94 shows a bold line bisecting the lot.  What is this feature?

9. Phasing Plan:  Please specify the completion of the Detention/BMP system in Phase 1, the completion of the road closure and right of way vacation at SW Blackstone Place and SW Pryor Road in Phase 1, the connection of the existing water line at SW Blackstone Place and Pryor Road in Phase 1, the water line loop from north to south along SW Stoney Brook Drive in Phase 1, and any additional detention basins to the south of Blackstone Place in Phase 1.

10. It appears Lot 46 is shown without any sanitary sewer service to the lot.

11. Has there been a preliminary design of the sanitary sewer system to ensure the depths and slopes will be within limits shown in the Design and Construction Manual?

12. Sheet 1, Utility Layout:  Sanitary sewer is shown roughly centered beneath Mondavi Lane.  Please move this line so the majority of the line is five (5) feet from the back of curb.

13. Sidewalks were shown on both sides of the streets within the entire development.  The only road where this would be required is SW Stoney Brook Drive, which is considered a Residential Collector.  All other roads should be shown with sidewalk on one side of the street.  Please ensure the placement coincides with existing sidewalks along Flintrock Drive, Napa Valley Drive, SW Sage Canyon Road, and SW Blackstone Place.

| #### Fire Review | Jim Eden | Assistant Chief | Approved with Conditions |
| --- | --- | --- | --- |
|  | (816) 969-1303 | Jim.Eden@cityofls.net |  |

1. Amended 2012 IFC D107.1 One- or two-family dwelling residential developments.
Developments of one- or two-family dwellings where the number of dwelling units exceeds 50 shall be provided with two separate and approved fire apparatus access roads, and shall meet the requirements of Section D104.3.

Exceptions:

1. Where there are more than 50 dwelling units on a single public or private fire apparatus access road and all dwelling units are equipped throughout with an approved automatic sprinkler system in accordance with Section 903.3.1.1, 903.3.1.2 or 903.3.1.3 of the International Fire Code, access from two directions shall not be required.

2. The number of dwelling units on a single fire apparatus access road shall not be increased unless fire apparatus access roads will connect with future development, as determined by the fire code official.

Action required: The second access ust be in place before more than 50 building permits will be issued.