October 20, 2017

Olsson Associates

Attn:  Mr. Len Swartz, PE

2111 S. 67th Street, Suite 200

Omaha, NE 68106

RE:	Request for Modifications for Pad 5 at Summit Fair (Dick’s Sporting Goods)  – PL-2016-080

City Engineer Approval of Specified Items

References:  	a) Letter from Olsson Associates, October 20, 2017

b) Appendix A – Revised Sanitary Sewer Plan & Profile

c) Appendix B – Sanitary Sewer Flow Data

The City of Lee’s Summit approves your request for the design exceptions listed below based on the request in the referenced letter.  These exceptions may be incorporated into subsequent submittals necessary to complete the standard review and approval of construction plans by City Staff.

- Section 06500.D.2.d, Minimum Slopes:  240 feet of 8-inch sanitary sewer that is at a slope less than 0.60%.

- Section 06500.D.2.g, Minimum Drop Across Inverts:  One manhole that has less than 0.20 feet drop across the invert.

- Section 06500.H.10.b, Adding a Manhole onto an Existing Sewer Main:  One doghouse manhole (MH#1C) to be constructed over existing sanitary sewer.

SIGNED:

_______________________________________

George M. Binger III, P.E.

City Engineer / Deputy Director of Public Works