4200 E. SKELLY DR. SUITE 750

TULSA, OK 74135

918.492.2987

FAX 918.493.6149

August 31, 2018

Re:  Comments from Planning and Development dated 8/3/18

Dear Sir:

Please find a line item response below for the items in the review comments:

# Analysis of Residential Rezoning with Preliminary Development Plan:

| Fire Review | Jim Eden | Assistant Chief | Corrections |
| --- | --- | --- | --- |
|  | (816) 969-1303 | Jim.Eden@cityofls.net |  |

- All issues pertaining to life safety and property protection from the hazards of fire, explosion or dangerous conditions in new and existing buildings, structures and premises, and to the safety to fire fighters and emergency responders during emergency operations, shall be in accordance with the 2012 International Fire Code.

ACKNOWLEDGED.

- IFC 903.3.7 - Fire department connections. The location of fire department connections shall be approved by the fire code official. Connections shall be a 4 inch Storz type fitting and located within 100 feet of a fire hydrant, or as approved by the code official.

Action required: Show FDC's on the buildings. Provide hydrants within 100 feet.

REFER TO CIVIL PLANS FOR LOCATIONS OF FDC AND HYDRANTS.

- D105.3 Proximity to building.

At least one of the required access routes meeting this condition shall be located within a minimum of 15 feet (4572 mm) and a maximum of 30 feet (9144 mm) from the building and shall be positioned parallel to one entire side of the building. The side of the building on which the aerial fire apparatus access road is positioned shall be approved by the fire code official.

Action required: The set back is inclusive of the parking spaces. Adjust as needed.

ACKNOWLEDGED. PLEASE REFER TO REVISED CIVIL SITE PLAN FOR BUILDING LOCATION.

- IFC 503.2.3 - Fire apparatus access roads shall be designed and maintained to support the imposed loads of fire apparatus and shall be surfaced so as to provide all-weather driving capabilities.

ACKNOWLEDGED.  HEAVY DUTY SECTION SHALL CONMPLY WITH SOILS REPORT ATTACHED.

| Planning Review | Shannon McGuire | Planner | Corrections |
| --- | --- | --- | --- |
|  | (816) 969-1237 | Shannon.McGuire@cityofls.net |  |

- On the rezoning map, please provide the zoning, land use, and ownership information of the properties on the south side of the proposed project.

ACKNOWLEDGED. PLEASE REFER TO REVISED CIVIL SITE PLAN

- A 5’ sidewalk along Shenandoah should extend to the plat boundary. Additionally, a 5’ sidewalk is required on both sides of Road “A”. Please label the width of the proposed sidewalks and update the plan sheets to reflect these requirements.

Additionally, with the close proximity to the school, staff feels there is a high possibility of goat trails forming to connect the two properties. Staff would like to see the addition of a pedestrian pathway connecting the proposed project to the existing pedestrian path on the school district’s south property line.

ACKNOWLEDGED. PLEASE REFER TO REVISED CIVIL SITE PLAN

- Please provide details of the existing conditions to include:

  - Existing streams, bodies of water, and surface drainage channels

  - Location, massing and pattern of existing vegetation

  - Topography with contours at 2-foot intervals

ACKNOWLEDGED. PLEASE REFER TO REVISED CIVIL SITE PLAN

- On sheet PD03 please label the ROW width for Blue Pkwy.

ACKNOWLEDGED. PLEASE REFER TO REVISED CIVIL SITE PLAN

- Please label the easements on lot 2 with their dimensions and use.

ACKNOWLEDGED. PLEASE REFER TO REVISED CIVIL SITE PLAN

- On sheet PD03 there is an easement that runs parallel to the east property line near the proposed detention ponds that seems terminate prematurely. This easement should run the length of the plat boundary. Please update the plat accordingly.

ACKNOWLEDGED. PLEASE REFER TO REVISED CIVIL SITE PLAN

- Please label the required 20’ building set back line along Blue Pkwy and Road “A” as well as the 10’ building set back line along interior lot lines.

ACKNOWLEDGED. PLEASE REFER TO REVISED CIVIL SITE PLAN

- Please label the name of the road leading from road “A” to the driveway to lot 2.

ACKNOWLEDGED. PLEASE REFER TO REVISED CIVIL SITE PLAN

- Please label the width of the driveway leading from Road “A” to lot 1 and driveway from the unnamed road leading to lot 2.

ACKNOWLEDGED. PLEASE REFER TO REVISED CIVIL SITE PLAN

- Please provide a land use schedule shall include the following, as applicable:

- Total floor area,

- Number of dwelling units,

- Land area,

- Number of required and proposed parking spaces,

- Impervious coverage,

- Floor Area Ratio (FAR),

- Dwelling units per acre, with and without common area;

PLEASE REFER TO PROJECT TABULATIONS ON SHEET P1

- A high impact buffer screen is required by the UDO on the north property line as it abuts an R-1 zoned district. With that being said there is a conflict with the required buffer location and the sanitary sewer and utility easements on the north property line. Staff is in support of your modification request to lower the required buffer to the medium standard as it is not adjacent to residential homes but a school and subdivision pool and there will be a substantial separation caused by the detention pond. Please update this modification request to include a request to locate the required buffer outside the easements and update the landscaping plan accordingly.

ACKNOWLEDGED. PLEASE REFER TO REVISED CIVIL SITE PLAN AND THE REVISED LANDSCAPE PLANS.

- On the buildings along the outer perimeter, it appears that there is ground mounted mechanical equipment in the rear. All ground mounted equipment shall be totally screened from view by landscaping or masonry wall up to a height of the units to be screened.

ACKNOWLEDGED. PLEASE REFER TO REVISED LANDSCAPE PLANS

- Sheet P3 shows standard details of the required ADA parking sign. This is the wrong sign. Lee’s Summit requires the R7-8 ADA parking sign that has green letters with a white HC symbol on a blue background. The sign has a white background.

PLEASE FIND REVISED DETAIL CALLING FOR AN R7-8 PARKING SIGN AS REQUESTED.

- Sheet P4 shows standards details for the ADA parking stalls. These only show a 5’ aisle. If only one ADA parking stall is provided per building it must be van accessible with a minimum 8’ aisle. The plans show aisles that look to be the same width as a standard stall just stripped off. Please reconcile the plans sheets so they accurately depict what is being proposed.

DETAIL HAS BEEN REVISED TO SHOW STANDARD 9’-0” STALL WIDTH ACCESS AISLE, As SHOWN ON CIVIL AND ARCHITECTURAL SITE PLANS.

- Please label the width of the ADA parking stalls and ADA aisles.

SEE REVISED DETAIL ABOVE. SHOWING DETAILED PARKING AND STRIPING DIMENSIONS.

- A photometric plan is required for all new development, redevelopment, parking lot development or expansion where outdoor lighting is proposed. Please provide this.

SEE ATTACHED LIGHITING PLAN.

- Parking lot lighting shall utilize flat lens fixtures with full cut-offs and be mounted to the parking lot light pole at 90 degrees (horizontal to the ground). Sheet P8 shows details for a pole design that does not meet this requirement.

REFER TO SITE LIGHTING PLANS AND SCHEDULE.  ALL SITE LIGHITNG IS BY WALL PACKS WITH CUT-OFF DEVICES.  PLEASE DISREGARD THE P8 SHEET PREVIOUSLY SUBMITTED

- Are any wall mounted lights being proposed? If so I will need the details for these as well. All exterior site lighting shall comply with section 7.190 through 7.300 of the UDO.

ACKNOWLEDGED.  PLEASE REFER TO SITE LIGHTING PLAN ATTACHED.

- Sheet P5 shows siding on wood framing as the proposed materials for the trash enclosures. All exterior trash storage containers shall be screened so that they are not visible from off the property. Each trash enclosure shall be constructed of masonry walls or steel architecturally designed walls with either a solid steel opaque gate painted to be compatible with the color of the masonry or steel walls and building it is to serve or a steel framed semi-opaque gate with a screen mesh material approved by the Director that provides an appropriate visual barrier.

PLEASE REFER TO REVIED DETAILS ON SHEET P5 ATTACHED.

- Sheet P3 is showing details for 6 curbing types. CG-1 concrete curbing is required around all parking areas and access drives in office, commercial and industrial districts. Temporary asphalt curbs may be used in areas to be expanded only as shown and approved on the development plan. Please update the plans sheets to reflect this requirement.

PLEASE REFER TO REVISED DETAILS ON ATTACHED P3 COMPLYING WITH CG-1 REQUIREMENT AS REQUESTED.

- Please add details of the proposed parking and drive surfaces. Pavement Design shall comply with section 12.120 of the UDO.

PLEASE REFER TO ATTACHED SOILS REPORT FOR ENGINEERED PARKING AND DRIVE DESIGN.

- Please provide updated sheets for P1, P1.1 and P1.2 that show the revised site layout and corresponding information.

ACKNOWLEDGED.  PLEASE FIND REVISED P1, P1.1 & P1.2 SHEETS ATTACHED.

- Sheets PD03 and PD04 appear to show gaps in the proposed sidewalk that runs on the south side or road “A”. Please update the plans to reflect a continuous sidewalk.

PLEASE FIND REVISED PD03 & PD04 ATTACHED.

- Building 7 on lot 1 and the northeastern most building on lot 2 do not show a sidewalk or ADA accessible route from the parking lot to the building. Please update the plans to ensure there is an ADA compliant route to the buildings.

PLEASE REFER TO REVISED CIVIL & ARCHITECTURAL SITE SHOWING COMPLIANCE.

- There do not appear to be any ADA parking stalls serving Lot 2’s clubhouse. Please update the plans to show ADA compliant stalls serving the clubhouse on lot 2.

PLEASE REFER TO REVISED CIVIL & ARCHITECTURAL SITE SHOWING ACCESSIBLE PARKING.

- Please show sidewalks running parallel to the parking stalls adjacent to buildings 1-11 on lot one and parallel to the interior buildings on lot 2. Standard parking space dimensions shall not be less than 9’ wide by nineteen 19’ long. Where the head of the parking space abuts a 6’ foot wide sidewalk or curbed landscaped area, the length of the parking space may be reduced 17’ to allow for vehicle overhang. Such overhang shall be measured from the face of the curb.

PLEASE REFER TO REVISED SITE PLANS ATTACHED, SHOWING SIDEWALKS AT CURBS ALONG INTERIOR BUILDING GROUPS.

- To calculate parking I will need to know the number of 1, 2, and 3 bedroom units are being proposed. Please include a breakdown of the proposed number of bedrooms in the land use table. That being said, based on the information you have provided on sheet PD06 you are 39 stalls short on lot 2.

PLEASE REFER TO PROJECT TABULATIONS ON SHEET P1.

- Please label the materials and colors proposed for the exterior of the buildings.

PLEASE FIND ELEVATIONS RENDERINGS WITH MATERIALS SAMPLES SHOWN.

- Various sheets have the proposed zoning district as PMIX. Please update this to reflect the proposed zoning district as RP-4.

REFER TO REVISED CIVIL PLANS.

- Sheet P3 shows details for a 4 foot sidewalk. The UDO required sidewalks be 5’.

PLEASE REFER TO CIVIL FOR SIDEWALK WIDTHS AT VARIOUS LOCATIONS.  5’-0” IS PROVIDED ALONG ALL STREETS AS PUBLIC WALKS.  P3 4’-0”  WALK IS INTENDED AS A BASIC EXAMPLE OF INTERIOR WALKS TO THE PROJECT THAT DO MEET FAIR HOUSING AND ACCESSIBLE ROUTE REQUIREMENTS.

- Sheet P4 shows details for typical parking stall as 18.5’x 9’. Sheet PD03 shows the parking stalls as 18x9. Standard parking space dimensions shall not be less than 9’ wide by nineteen 19’ long. Where the head of the parking space abuts a 6’ foot wide sidewalk or curbed landscaped area, the length of the parking space may be reduced 17’ to allow for vehicle overhang. Such overhang shall be measured from the face of the curb. Please reconcile the plans sheets so they accurately depict what is being proposed.

PLEASE REFER TO THE REVISED P4 SHEET THAT SHOWS 19’-0” STANDRAD PARKING DEPTH THROUGHOUT… AND WE ACKNOWELDGE THE ALLOWED 17’-0” DEPTH WHERE ADJACENT TO LANDSCAPE AREA.

- Sheet P6.1 shows details for 2 fence types however I do not see where on the site plan a fence is being proposed. Please update the plans with details of what is being proposed.

PLEASE DISREGARD P6.1 AS THE ONLY FENCE CURRENTLY PLANNED FOR THE PROJECT ARE THOSE AROUND THE POOL ENCLOSURE.  THESE WILL BE DETAILED AS PART OF THE APPROVED POOL DRAWINGS TO ENSURE THEY COMPLY WITH THE CODED REQUIREMENTS FOR THE POOL.

- The ADA sign shown on sheet P6.3 is not an approved sign for ADA parking. Please remove this from the plan sheet so as not to confuse anyone on what sign type is acceptable for ADA compliant parking stalls.

PLEASE FIND REVISED SHEET WITHOUT THIS DETAIL INCLUDED AS REQUESTED.

- Please provide floor plan details for the various buildings being proposed.

PLEASE FIND ADDITIONAL PLAN AND ELEVATIONS FOR ADDED BUILDING TYPES ATTACHED.

Sincerely,

Russell McDaris

cc: