2/8/2016 – water line looping discussion

- It was decided to all a temporary water loop in between lots – to be taken out on phase 3, when the loop along Jamestown is made.

3/15/2016 – Storm water discussion (due to wet basin proposed instead of dry basin)

- Need to resubmit offsite improvements

- Need to resubmit storm water study report

- Sanitary will need to be moved so that it is not in the toe of the basin (it will move closer to the center of the road – not impeding with the power lines that will be buried.

- There needs to be a junction box for the line 4 inlet into the retention basin

- Gene will make the concurrence letter for the sanitary a priority when the plans are resubmitted.